USER MANUAL for IonStarSPG.R

The first input into the IonStarStat package is a spectrum report containing a filtered PSM list. This report can be exported conveniently from a number of softwares, e.g. Proteome Discoverer, Scaffold. Here we will demonstrate the use of the IonStarSPG.R spectrum report generator using results obtained from MS-GF+ (database search) and IDPicker (post-search processing).

I. Input files

Search results .tsv files (Sample name.raw.tsv) converted from .mzid files using MSGFPlus.jar (-showQValue = 1, -shoeDecoy = 1, -unroll = 1)

Protein list .tsv file exported from the Protein View tab of the .idpDB file

Peptide list .tsv file exported from the Peptide View tab of the .idpDB file

Spectrum list .tsv file exported from the Spectrum View tab of the .idpDB file (Tree grouping = Spectrum)

II. Spectrum report generation with IonStarSPG.R

1. Confirm that all input files are located under the same directory.

2. Generate spectrum report

a. Change the input and output file names:

Line 4~7

Line 70

b. Run the script by Source function.

c. The output (Spectrum report.csv) contains the filtered PSM from each LC-MS run as follows: